## Dashboard
10-YEAR MASTER MODEL · ENERGY THAT YIELDS
Investment case = Core Platform (Layers 1-4). Phase 1: 10MW Grootvlei + 10MW AMSA. Layer 5 (owned inference / GPUs) is held as a separate strategic option / potential SPV and is NOT modelled in this case.
HEADLINE OUTPUTS - CORE PLATFORM (LAYERS 1-4)
Metric | Value | Unit | Interpretation
2035 Revenue | 29033.6664 | R'm | Layers 1-4 only; no owned-inference revenue.
2035 EBITDA | 18635.2568 | R'm | Strong operating leverage once capacity is deployed.
10Y Capex (Layers 1-4) | 85910 | R'm | Excludes Layer 5 GPU / owned-inference capex.
NPV / EV (unlevered) | 45538.6301 | R'm | Discounted FCF + terminal value (8x 2035 EBITDA) at 15%.
Unlevered IRR | 38.49% | % | Project IRR on Layers 1-4.
Peak connected MW | 2400 | MW | Incl. ~250MW reserved as headroom for the Layer 5 option.
LAYER 5 - OWNED INFERENCE (GPUs): STRATEGIC OPTION - NOT IN THE INVESTMENT CASE
Owned inference (buying and operating our own GPU / accelerator fleet) is deliberately excluded from this infrastructure investment case and from the model’s capex, revenue and valuation.
Rationale: GPU fleets carry a 24-36 month obsolescence cycle and venture-style technology risk that does not fit an infrastructure mandate. This case funds the power, electrical, cooling and hosting platform (the PropCo, Layers 1-4) - it does not fund the GPUs.
Stance: the Layer 5 business case will be evaluated later in the business cycle - only once AI/DC hosting demand, GPU / vendor financing and utilisation evidence are proven. If pursued, it is expected to be ring-fenced in a separate SPV / OpCo with venture or vendor / equipment financing.
The five-layer revenue-stack concept is retained in the narrative; Layer 5’s chip capex and inference revenue are intentionally not modelled here. Indicative-only parameters sit on the Layer5_Option tab and can be switched on via Scenario_Control!B54 for evaluation.
2035 REVENUE MIX - CORE PLATFORM |  |  |  | 10Y CAPEX BRIDGE - CORE PLATFORM (LAYERS 1-4)
Layer | 2035 Rev (R'm) | % total | Note | Component | 10Y Capex (R'm) | Share | Note
BTC anchor | 10542.7604 | 36.31% | Liquid, interruptible anchor load. | Mining infrastructure | 36400 | 42.37% | Flexible ASIC load; BTC anchor + DR buffer.
DR / grid services | 2205.84 | 7.598% | Flexible-demand & grid-stabilisation services. | Electrical / site | 12000 | 13.97% | Grid integration & site enablement.
AI/DC resale + hosting | 16285.0661 | 56.09% | Core AI infra layer (no GPU ownership). | Solar | 10500 | 12.22% | Tariff optimisation / green compute.
Layer 5 - owned inference | Not modelled | - | Strategic option / potential SPV. | AI/DC host infrastructure | 19200 | 22.35% | Non-GPU hosting; can be partner-funded.
Total (Layers 1-4) | 29033.6664 | 100% |  | Contingency | 7810 | 9.091% | Programme reserve (10%).
|  |  |  | Total (Layers 1-4) | 85910 | 100%
|  |  |  | Memo: Layer 5 GPU capex (EXCLUDED) | Not funded by infra vehicle | Separate SPV / venture financing.
MILESTONE-GATED CAPITAL UNLOCKS - CORE PLATFORM
Gate | Timing | Capacity | Indicative unlock | Key condition
1 | Q1-26 | 20 MW | R0.6bn | Phase 1 funded and energised (10MW Grootvlei + 10MW AMSA).
2 | Q2-26 | 160 MW | R3.2bn | DR proven to Eskom/NTCSA; tariff path to <=R0.80/kWh.
3 | Q3-Q4 26 | 550 MW | R8.8bn | AMSA/Grootvlei scale; first AI/DC 5MW contracted.
4 | Q1-Q2 27 | 1,200 MW | R14.0bn | Additional node; essential-load approvals for AI/DC.
5 | Q3-Q4 27 | 2,000 MW | R20.0bn | Net tariff <=R0.50/kWh; grid-stabilisation value recognised.
6 | 2028 | 2,400 MW | R20.0bn | AI/DC client base >=100MW (creditworthy offtake).
Layer 5 (owned inference) gates are NOT part of this case - they would be evaluated separately and, if pursued, funded via a dedicated SPV / OpCo (see Layer5_Option tab).

## Scenario_Control
BitMach 10-Year Master Model v7 - Scenario Control
Control / Input | Value | Unit | Explanation / investor interpretation
Selected ramp case | Full Platform Acceleration |  | Default case for investor brief: no capital shortage, fastest practical milestone-gated scale path.
Selected revenue case | Integrated Energy Infrastructure |  | Uses BTC anchor, DR/grid services, AI/DC power resale and hosting. Owned inference is shown separately as Layer 5.
Selected funding case | Infrastructure Funded |  | Assumes a deep-pocketed infrastructure investor plus project debt, vendor/partner funding and equipment finance.
Phase 1 configuration | 10 MW Grootvlei + 10 MW AMSA |  | Fixed per latest direction. Useful for DR qualification and two-node proof of execution.
FX rate | 17 | ZAR/USD | Used to translate USD-priced hardware, BTC price and AI references into ZAR.
Discount rate | 15% | % | Equity/infrastructure discount rate for NPV. Change to test valuation sensitivity.
Terminal EBITDA multiple | 8 | x | Applied to final-year EBITDA for terminal value. Infrastructure/compute hybrid valuation lens.
Corporate tax rate | 27% | % | South African corporate tax assumption.
BTC price - start | 75000 | USD/BTC | Starting BTC price assumption.
BTC price growth | 12% | % p.a. | Long-run BTC price growth case. Sensitise heavily.
Network hash growth | 12% | % p.a. | Network difficulty/hash growth. Higher value reduces BTC mined per TH/s.
BTC fees - initial | 15% | % of subsidy | Transaction-fee contribution as % of block subsidy in 2026.
BTC fee growth | 7.5% | % pts p.a. | Fee contribution increases over time to partly offset protocol issuance decline.
Uptime | 98% | % | Technical availability across load categories. Hydro-cooled architecture and industrial operations target high uptime.
Mining hours per day | 19 | hours/day | Interruptible mining load operating profile under Eskom pilot/tariff framework.
Essential load hours per day | 24 | hours/day | AI/DC and inference are essential load and run 24/7.
Interruptible tariff 2026 | 1.2 | R/kWh | Initial Eskom tariff assumption for first acceleration year.
Interruptible tariff after DR proof | 0.8 | R/kWh | Milestone target after proving DR / ancillary capability above 20MW.
Stabilised interruptible tariff | 0.6 | R/kWh | Contracted/negotiated grid-stabilisation tariff after initial operating period.
Optimised net tariff | 0.5 | R/kWh | Target tariff after deeper demand response / grid stabilisation value is recognised.
Essential-load tariff premium | 0.3 | R/kWh | Premium above interruptible tariff for 24/7 essential AI/DC load.
AI/DC resale tariff | 2.5 | R/kWh | Price charged to AI/DC customer for power/resale layer. Equivalent to c. USD147/MWh at R17/USD.
AI resale escalation | 2% | % p.a. | Annual escalation on AI/DC resale tariff.
Hosting fee | 0.75 | R'm/MW/month | Additional site/cooling/hosting services revenue for AI/DC partner capacity.
IDR standby payment | 80 | R/kW-month | Illustrative reserve/standby payment for controllable interruptible load. Update when contracted.
DDMP-style incentive | 3 | R'm/MW over 24m | Public benchmark-style performance contracting value applied to new eligible MW over two years.
Event curtailment rate | 2 | R/kWh | Scenario value for event-based curtailment compensation.
Event hours per year | 25 | hours/year | Assumed compensated event hours.
Miner hashrate | 700 | TH/unit | M7DS-equivalent hash rate assumption.
Miner efficiency | 12.5 | J/TH | M7DS energy efficiency. Lower is better.
Auxiliary load | 5% | % | Non-compute auxiliary/cooling load.
Mining capex | 20 | R'm/MW | ASIC / container / deployment capex for interruptible mining capacity; c. USD1.2m/MW at R17/USD.
Electrical/site capex | 5 | R'm/MW | Grid interconnection, electrical reticulation and site enablement capex across scale.
Solar capex | 7 | R'm/MW | Solar PV capex assumption.
AI/DC host capex | 40 | R'm/MW | Non-GPU hosting infrastructure capex for AI/DC partner capacity.
Owned inference capex [Layer 5 option - indicative only] | 550 | R'm/MW | GPU/accelerator-heavy own inference capex. High-risk/high-reward Layer 5 only.
Own inference revenue [Layer 5 option - indicative only] | 180 | R'm/MW/year | High-level gross inference/token/API revenue per MW-year at initial deployment.
Inference price decline [Layer 5 option - indicative only] | 10% | % p.a. | Annual revenue decline / compression applied to own inference as token/GPU pricing normalises.
Inference opex ratio [Layer 5 option - indicative only] | 35% | % of revenue | Non-power operating cost as % of owned inference revenue.
Contingency | 10% | % | Programme-level contingency on gross capex.
AI host partner-funded share | 50% | % | Share of AI/DC host infrastructure funded by partner/customer/vendor.
Own inference partner/vendor share | 50% | % | Share of owned inference capex funded by strategic partner/vendor/equipment structure.
Core platform project debt share | 55% | % | Debt share for core platform capex after partner/vendor funding.
Core platform equity share | 35% | % | Equity share for core platform capex after partner/vendor funding.
Core platform partner/vendor share | 10% | % | Vendor / partner / other non-equity funding share for core platform capex.
Owned inference debt share | 30% | % | Equipment/project debt share of BitMach-funded owned inference capex.
Owned inference equity share | 20% | % | Equity share of BitMach-funded owned inference capex.
Debt interest rate | 13% | % p.a. | Blended project/equipment debt rate.
Debt amortisation tenor | 7 | years | Simplified annual amortisation tenor for post-grace debt service.
Debt grace period | 1 | years | Grace period before amortisation begins.
Layer 5 (owned inference) - model in base case? | 0 | 1=Yes / 0=No | Owned inference (GPUs) is held as a separate strategic option / potential SPV and is EXCLUDED from the base infrastructure investment case. Set to 1 to switch the Layer 5 business case back on for evaluation.
Blue = editable input. Yellow = key value-driving assumption (sensitise these).

## Case_Ramp_Annual
Case Ramp Annual - Connected Capacity by Site (MW)
Ramp Case / Site | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Full Platform Acceleration
Grootvlei | 20 | 100 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200
AMSA Vanderbijlpark | 20 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350
AMSA Newcastle | 0 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450 | 450
Saldanha | 0 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350
Komati / Eskom Nodes | 0 | 100 | 650 | 850 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050
Total Connected MW | 40 | 1350 | 2000 | 2200 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400
Institutional Growth
Grootvlei | 20 | 80 | 120 | 160 | 200 | 200 | 200 | 200 | 200 | 200
AMSA Vanderbijlpark | 20 | 100 | 200 | 280 | 350 | 350 | 350 | 350 | 350 | 350
AMSA Newcastle | 0 | 0 | 150 | 300 | 450 | 450 | 450 | 450 | 450 | 450
Saldanha | 0 | 0 | 0 | 150 | 300 | 350 | 350 | 350 | 350 | 350
Komati / Eskom Nodes | 0 | 20 | 130 | 300 | 500 | 650 | 850 | 950 | 1050 | 1050
Total Connected MW | 40 | 200 | 600 | 1190 | 1800 | 2000 | 2200 | 2300 | 2400 | 2400
Phase 1 Underwriting
Grootvlei | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100
AMSA Vanderbijlpark | 10 | 20 | 40 | 60 | 80 | 100 | 120 | 140 | 160 | 180
AMSA Newcastle | 0 | 0 | 0 | 50 | 100 | 150 | 200 | 250 | 300 | 350
Saldanha | 0 | 0 | 0 | 0 | 50 | 100 | 150 | 200 | 250 | 300
Komati / Eskom Nodes | 0 | 0 | 20 | 40 | 80 | 120 | 180 | 240 | 300 | 400
Total Connected MW | 20 | 40 | 90 | 190 | 360 | 530 | 720 | 910 | 1100 | 1330

## Quarterly_Ramp
Full Platform Acceleration - 36 Month Ramp & Capital Unlocks
Metric | Q1-26 | Q2-26 | Q3-26 | Q4-26 | Q1-27 | Q2-27 | Q3-27 | Q4-27 | Q1-28 | Q2-28 | Q3-28 | Q4-28
Grootvlei MW | 20 | 60 | 100 | 100 | 150 | 200 | 200 | 200 | 200 | 200 | 200 | 200
AMSA Vanderbijlpark MW | 20 | 100 | 200 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350
AMSA Newcastle MW | 0 | 0 | 0 | 50 | 150 | 300 | 450 | 450 | 450 | 450 | 450 | 450
Saldanha MW | 0 | 0 | 0 | 0 | 50 | 150 | 275 | 350 | 350 | 350 | 350 | 350
Komati / Eskom Nodes MW | 0 | 0 | 0 | 50 | 100 | 200 | 275 | 650 | 800 | 850 | 850 | 850
Total Connected MW | 40 | 160 | 300 | 550 | 800 | 1200 | 1550 | 2000 | 2150 | 2200 | 2200 | 2200
AI/DC Customer MW | 0 | 0 | 5 | 20 | 50 | 100 | 150 | 250 | 350 | 450 | 550 | 600
Reserved Layer-5 MW (option - separate SPV) | 0 | 0 | 0 | 0 | 5 | 25 | 50 | 100 | 150 | 200 | 225 | 250
Milestone / Gate | Phase 1 funded | DR proof + tariff <=R0.80 | AMSA/GVL buildout | AI/DC 5MW contracted | New node active | Net tariff <=R0.50 | AI/DC >=100MW | 1GW+ achieved | Own inference 5MW stable | 2GW+ achieved | Own inference 250MW path | Full acceleration stabilisation
Capital unlock this quarter (Rbn) | 0.6 | 3.2 | 2.8 | 6 | 6 | 8 | 8 | 12 | 8 | 6 | 4 | 2

## Site_Master
Site Master - Capacity, Status and Commercial Role
Site | Grid Capacity MW | Solar PV MW | Phase Role | Acceleration Timing | Primary Revenue Role | Milestone / dependency | Source / context | Investor note
Grootvlei | 200 | 0 | Phase 1 + scale node | Q1-26 to Q2-27 | BTC anchor, DR proof, grid services | Eskom tariff / DR proof, self-build EPC | Concept design, EPC quote, Eskom pilot materials | Repurposed power-station node with existing grid infrastructure.
AMSA Vanderbijlpark | 350 | 500 | Phase 1 + industrial platform | Q1-26 to Q4-26 | BTC anchor, solar blending, AI/DC hosting | AMSA definitive agreement, solar rights, 10MW initial block | AMSA term sheet / investor materials | Industrial precinct with solar and customer adjacency.
AMSA Newcastle | 450 | 500 | Phase 3 scale node | Q4-26 to Q3-27 | BTC, DR, AI/DC hosting | AMSA Newcastle unlock, grid and solar due diligence | AMSA term sheet / management roadmap | Large industrial node for rapid scale.
Saldanha | 350 | 450 | Phase 4 coastal node | Q1-27 to Q4-27 | BTC, solar, AI/DC hosting | Saldanha site rights and grid/solar confirmation | AMSA term sheet / management roadmap | Strategic coastal / industrial energy node.
Komati / additional Eskom nodes | 1050 | 0 | Eskom-node replication | Q4-26 to Q4-28 | BTC, DR, grid services, AI/DC expansion | Eskom/NTCSA agreements; node-by-node approvals | Eskom proposal history and platform plan | Portfolio of power-station / grid nodes enabling 2GW+ scale.

## Load_Tariff
Load & Tariff Model - Interruptible Mining vs Essential AI/DC Load
Metric | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Closing connected MW | 40 | 1350 | 2000 | 2200 | 2400 | 2400 | 2400 | 2400 | 2400 | 2400
Opening connected MW | 0 | 40 | 1350 | 2000 | 2200 | 2400 | 2400 | 2400 | 2400 | 2400
Average connected MW | 20 | 695 | 1675 | 2100 | 2300 | 2400 | 2400 | 2400 | 2400 | 2400
AI/DC hosting essential load share | 0% | 5% | 10% | 15% | 20% | 25% | 30% | 30% | 30% | 30%
Reserved capacity for optional Layer 5 (MW) | 0 | 0 | 5 | 50 | 100 | 250 | 250 | 250 | 250 | 250
AI/DC hosting MW | 0 | 67.5 | 200 | 330 | 480 | 470 | 470 | 470 | 470 | 470
Total essential MW | 0 | 67.5 | 205 | 380 | 580 | 720 | 720 | 720 | 720 | 720
Interruptible mining MW | 40 | 1282.5 | 1795 | 1820 | 1820 | 1680 | 1680 | 1680 | 1680 | 1680
Essential load cap check | 0% | 5% | 10.25% | 17.27% | 24.17% | 30% | 30% | 30% | 30% | 30%
Mining energy (GWh) | 271.852 | 8716.2548 | 12199.3585 | 12369.266 | 12369.266 | 11417.784 | 11417.784 | 11417.784 | 11417.784 | 11417.784
AI/DC host energy (GWh) | 0 | 579.474 | 1716.96 | 2832.984 | 4120.704 | 4034.856 | 4034.856 | 4034.856 | 4034.856 | 4034.856
Reserved / Layer-5 energy (GWh) - nil unless Layer 5 evaluated | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Interruptible tariff (R/kWh) | 1.2 | 0.8 | 0.6 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5
Essential import tariff (R/kWh) | 1.5 | 1.1 | 0.9 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8
AI/DC resale tariff (R/kWh) | 2.5 | 2.55 | 2.601 | 2.653 | 2.7061 | 2.7602 | 2.8154 | 2.8717 | 2.9291 | 2.9877
Mining power cost (R'm) | 326.2224 | 6973.0038 | 7319.6151 | 6184.633 | 6184.633 | 5708.892 | 5708.892 | 5708.892 | 5708.892 | 5708.892
AI/DC host power cost (R'm) | 0 | 637.4214 | 1545.264 | 2266.3872 | 3296.5632 | 3227.8848 | 3227.8848 | 3227.8848 | 3227.8848 | 3227.8848
Own inference power cost (R'm) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AI/DC resale power revenue (R'm) | 0 | 1477.6587 | 4465.813 | 7515.9632 | 11150.9563 | 11137.0176 | 11359.758 | 11586.9531 | 11818.6922 | 12055.0661
Power gross margin - host (R'm) | 0 | 840.2373 | 2920.549 | 5249.576 | 7854.3931 | 7909.1328 | 8131.8732 | 8359.0683 | 8590.8074 | 8827.1813
Tariff relief vs R1.20 baseline (R'm) | 0 | 3486.5019 | 7319.6151 | 8658.4862 | 8658.4862 | 7992.4488 | 7992.4488 | 7992.4488 | 7992.4488 | 7992.4488

## BTC_Model
BTC Anchor Revenue Model - Halving, Fees and Network Difficulty
Metric | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
BTC price (USD) | 75000 | 84000 | 94080 | 105369.6 | 118013.952 | 132175.6262 | 148036.7014 | 165801.1056 | 185697.2382 | 207980.9068
Network hash (TH/s) | 900000000 | 1008000000 | 1128960000 | 1264435200 | 1416167424 | 1586107514.88 | 1776440416.6656 | 1989613266.6655 | 2228366858.6653 | 2495770881.7052
Block subsidy (BTC/block) | 3.125 | 3.125 | 1.5625 | 1.5625 | 1.5625 | 1.5625 | 0.78125 | 0.78125 | 0.78125 | 0.78125
Transaction fees (% of subsidy) | 15% | 22.5% | 30% | 37.5% | 45% | 52.5% | 60% | 67.5% | 75% | 82.5%
Effective BTC/block incl. fees | 3.5937 | 3.8281 | 2.0312 | 2.1484 | 2.2656 | 2.3828 | 1.25 | 1.3086 | 1.3672 | 1.4258
Network BTC/year | 188887.5 | 201206.25 | 106762.5 | 112921.875 | 119081.25 | 125240.625 | 65700 | 68779.6875 | 71859.375 | 74939.0625
Mining MW | 40 | 1282.5 | 1795 | 1820 | 1820 | 1680 | 1680 | 1680 | 1680 | 1680
Effective BitMach hash (TH/s) | 2364444.4444 | 75810000 | 106104444.4444 | 107582222.2222 | 107582222.2222 | 99306666.6667 | 99306666.6667 | 99306666.6667 | 99306666.6667 | 99306666.6667
BTC mined | 496.2378 | 15132.3867 | 10033.9921 | 9607.7571 | 9046.2648 | 7841.3531 | 3672.7649 | 3432.9694 | 3202.3968 | 2981.8236
BTC revenue (R'm) | 632.7032 | 21609.0482 | 16047.9656 | 17210.2139 | 18148.9528 | 17619.4078 | 9242.968 | 9676.2321 | 10109.4962 | 10542.7604

## DR_Model
Demand Response / Grid Services Model - Mechanism Stack
Mechanism | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Eligible interruptible MW | 40 | 1282.5 | 1795 | 1820 | 1820 | 1680 | 1680 | 1680 | 1680 | 1680
New eligible MW | 40 | 1242.5 | 512.5 | 25 | 0 | 0 | 0 | 0 | 0 | 0
IDR / reserve standby revenue (R'm) | 38.4 | 1231.2 | 1723.2 | 1747.2 | 1747.2 | 1612.8 | 1612.8 | 1612.8 | 1612.8 | 1612.8
DDMP-style incentive (R'm) | 60 | 1923.75 | 2632.5 | 806.25 | 37.5 | 0 | 0 | 0 | 0 | 0
Event / curtailment value (R'm) | 2 | 64.125 | 89.75 | 91 | 91 | 84 | 84 | 84 | 84 | 84
Total DR / grid services revenue (R'm) | 100.4 | 3219.075 | 4445.45 | 2644.45 | 1875.7 | 1696.8 | 1696.8 | 1696.8 | 1696.8 | 1696.8
Tariff relief / NPA value (R'm) | 0 | 3486.5019 | 7319.6151 | 8658.4862 | 8658.4862 | 7992.4488 | 7992.4488 | 7992.4488 | 7992.4488 | 7992.4488
Total grid-alignment economic value (R'm) | 100.4 | 6705.5769 | 11765.0651 | 11302.9362 | 10534.1862 | 9689.2488 | 9689.2488 | 9689.2488 | 9689.2488 | 9689.2488
Revenue status | Milestone-linked; recurring platform value | Milestone-linked; recurring platform value | Milestone-linked; recurring platform value | Milestone-linked; recurring platform value | Milestone-linked; recurring platform value | Milestone-linked; recurring platform value | Milestone-linked; recurring platform value | Milestone-linked; recurring platform value | Milestone-linked; recurring platform value | Milestone-linked; recurring platform value
Milestone dependency | NPA / market participation / dispatch performance | NPA / market participation / dispatch performance | NPA / market participation / dispatch performance | NPA / market participation / dispatch performance | NPA / market participation / dispatch performance | NPA / market participation / dispatch performance | NPA / market participation / dispatch performance | NPA / market participation / dispatch performance | NPA / market participation / dispatch performance | NPA / market participation / dispatch performance

## AI_DC_Model
AI/DC Commercial Model - Power Resale, Hosting and Owned Inference
Metric | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
AI/DC host MW | 0 | 67.5 | 200 | 330 | 480 | 470 | 470 | 470 | 470 | 470
Reserved Layer-5 MW | 0 | 0 | 5 | 50 | 100 | 250 | 250 | 250 | 250 | 250
AI/DC host energy (GWh) | 0 | 579.474 | 1716.96 | 2832.984 | 4120.704 | 4034.856 | 4034.856 | 4034.856 | 4034.856 | 4034.856
Own inference energy (GWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AI/DC power resale revenue (R'm) | 0 | 1477.6587 | 4465.813 | 7515.9632 | 11150.9563 | 11137.0176 | 11359.758 | 11586.9531 | 11818.6922 | 12055.0661
AI/DC power import cost (R'm) | 0 | 637.4214 | 1545.264 | 2266.3872 | 3296.5632 | 3227.8848 | 3227.8848 | 3227.8848 | 3227.8848 | 3227.8848
AI/DC power gross margin (R'm) | 0 | 840.2373 | 2920.549 | 5249.576 | 7854.3931 | 7909.1328 | 8131.8732 | 8359.0683 | 8590.8074 | 8827.1813
AI/DC hosting / colocation revenue (R'm) | 0 | 607.5 | 1800 | 2970 | 4320 | 4230 | 4230 | 4230 | 4230 | 4230
AI/DC hosting operating cost (R'm) | 0 | 91.125 | 270 | 445.5 | 648 | 634.5 | 634.5 | 634.5 | 634.5 | 634.5
AI/DC hosting EBITDA (R'm) | 0 | 1356.6123 | 4450.549 | 7774.076 | 11526.3931 | 11504.6328 | 11727.3732 | 11954.5683 | 12186.3074 | 12422.6813
Owned inference gross revenue (Layer 5 option - excluded from base case) (R'm) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Own inference non-power opex (R'm) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Own inference power cost (R'm) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Own inference EBITDA (R'm) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total AI/DC + inference revenue (R'm) | 0 | 2085.1587 | 6265.813 | 10485.9632 | 15470.9563 | 15367.0176 | 15589.758 | 15816.9531 | 16048.6922 | 16285.0661
Total AI/DC + inference EBITDA (R'm) | 0 | 1356.6123 | 4450.549 | 7774.076 | 11526.3931 | 11504.6328 | 11727.3732 | 11954.5683 | 12186.3074 | 12422.6813
AI/DC commercial status | Pilot / partner discussions | Pilot / partner discussions | Contracted capacity target | Contracted capacity target | Scaled hosting + selective own inference | Scaled hosting + selective own inference | Scaled hosting + selective own inference | Scaled hosting + selective own inference | Scaled hosting + selective own inference | Scaled hosting + selective own inference

## Capex_Model
Capex Model - Core Platform vs Optional Owned Inference
Capex component | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
New connected MW | 40 | 1310 | 650 | 200 | 200 | 0 | 0 | 0 | 0 | 0
New interruptible mining MW | 40 | 1242.5 | 512.5 | 25 | 0 | 0 | 0 | 0 | 0 | 0
New AI/DC host MW | 0 | 67.5 | 132.5 | 130 | 150 | 0 | 0 | 0 | 0 | 0
Reserved Layer-5 MW additions | 0 | 0 | 5 | 45 | 50 | 150 | 0 | 0 | 0 | 0
New solar MW | 20 | 230 | 350 | 600 | 200 | 100 | 0 | 0 | 0 | 0
Mining infrastructure capex (R'm) | 800 | 24850 | 10250 | 500 | 0 | 0 | 0 | 0 | 0 | 0
Electrical / site capex (R'm) | 200 | 6550 | 3250 | 1000 | 1000 | 0 | 0 | 0 | 0 | 0
Solar capex (R'm) | 140 | 1610 | 2450 | 4200 | 1400 | 700 | 0 | 0 | 0 | 0
AI/DC hosting infrastructure capex (R'm) | 0 | 2700 | 5300 | 5200 | 6000 | 0 | 0 | 0 | 0 | 0
Owned inference / GPU capex (Layer 5 option - excluded from base case) (R'm) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gross capex - Core Layers 1-4 (R'm) | 1140 | 35710 | 21250 | 10900 | 8400 | 700 | 0 | 0 | 0 | 0
Gross capex - Full Stack incl. Layer 5 (R'm) | 1140 | 35710 | 21250 | 10900 | 8400 | 700 | 0 | 0 | 0 | 0
Partner/vendor-funded AI/DC capex (R'm) | 0 | 1350 | 2650 | 2600 | 3000 | 0 | 0 | 0 | 0 | 0
Partner/vendor-funded inference capex (R'm) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BitMach-funded core capex (R'm) | 1026 | 31059 | 17005 | 7730 | 5160 | 630 | 0 | 0 | 0 | 0
BitMach-funded owned inference capex (R'm) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Contingency on gross capex (R'm) | 114 | 3571 | 2125 | 1090 | 840 | 70 | 0 | 0 | 0 | 0
Total BitMach-funded capex incl. contingency (R'm) | 1140 | 34630 | 19130 | 8820 | 6000 | 700 | 0 | 0 | 0 | 0
Cumulative capex excl. owned inference (R'm) | 1254 | 40535 | 63910 | 75900 | 85140 | 85910 | 85910 | 85910 | 85910 | 85910
Cumulative capex incl. owned inference (R'm) | 1254 | 40535 | 63910 | 75900 | 85140 | 85910 | 85910 | 85910 | 85910 | 85910
Owned inference share of gross capex | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%

## Revenue_Bridge
Revenue Bridge - Layered Energy-to-Compute Platform
Revenue Stream | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Layer 1 - BTC anchor revenue (R'm) | 632.7032 | 21609.0482 | 16047.9656 | 17210.2139 | 18148.9528 | 17619.4078 | 9242.968 | 9676.2321 | 10109.4962 | 10542.7604
Layer 2 - DR / grid services revenue (R'm) | 100.4 | 3219.075 | 4445.45 | 2644.45 | 1875.7 | 1696.8 | 1696.8 | 1696.8 | 1696.8 | 1696.8
Layer 2 value - tariff relief / NPA value (R'm) | 0 | 3486.5019 | 7319.6151 | 8658.4862 | 8658.4862 | 7992.4488 | 7992.4488 | 7992.4488 | 7992.4488 | 7992.4488
Layer 3 - Energy market / balancing value (R'm) | 30.12 | 965.7225 | 1333.635 | 793.335 | 562.71 | 509.04 | 509.04 | 509.04 | 509.04 | 509.04
Layer 4A - AI/DC power resale revenue (R'm) | 0 | 1477.6587 | 4465.813 | 7515.9632 | 11150.9563 | 11137.0176 | 11359.758 | 11586.9531 | 11818.6922 | 12055.0661
Layer 4B - AI/DC hosting / colocation revenue (R'm) | 0 | 607.5 | 1800 | 2970 | 4320 | 4230 | 4230 | 4230 | 4230 | 4230
Revenue Layers 1-4 excl. own inference (R'm) | 763.2232 | 27879.0044 | 28092.8636 | 31133.9621 | 36058.3191 | 35192.2654 | 27038.566 | 27699.0253 | 28364.0285 | 29033.6664
Layer 5 - Owned inference / token revenue (strategic option - NOT modelled in base case) (R'm) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total revenue incl. Layer 5 (R'm) | 763.2232 | 27879.0044 | 28092.8636 | 31133.9621 | 36058.3191 | 35192.2654 | 27038.566 | 27699.0253 | 28364.0285 | 29033.6664
BTC share of full revenue | 82.9% | 77.51% | 57.12% | 55.28% | 50.33% | 50.07% | 34.18% | 34.93% | 35.64% | 36.31%
DR/grid share of full revenue | 17.1% | 15.01% | 20.57% | 11.04% | 6.762% | 6.268% | 8.158% | 7.964% | 7.777% | 7.598%
AI/DC + inference share of full revenue | 0% | 7.479% | 22.3% | 33.68% | 42.91% | 43.67% | 57.66% | 57.1% | 56.58% | 56.09%
Revenue status / evidence | Base contracted / protocol driven | Milestone-linked commercial stack | Milestone-linked commercial stack | Scaled platform revenue mix | Scaled platform revenue mix | Scaled platform revenue mix | Scaled platform revenue mix | Scaled platform revenue mix | Scaled platform revenue mix | Scaled platform revenue mix

## Financing_DCF
Financing, DCF & Valuation - Core Platform (Layers 1-4)
Layer 5 (owned inference / GPUs) is EXCLUDED from this case (Scenario_Control!B54=0). "incl. owned inference" rows therefore equal the core rows.
Metric | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | Valuation metric | Core Platform (Layers 1-4) | Layer 5 (owned inference)
Total revenue excl. owned inference (R'm) | 763.2232 | 27879.0044 | 28092.8636 | 31133.9621 | 36058.3191 | 35192.2654 | 27038.566 | 27699.0253 | 28364.0285 | 29033.6664 | NPV (R'm) | 45538.6301 | Excluded from the investment case.
Total revenue incl. owned inference (R'm) | 763.2232 | 27879.0044 | 28092.8636 | 31133.9621 | 36058.3191 | 35192.2654 | 27038.566 | 27699.0253 | 28364.0285 | 29033.6664 | IRR | 38.49% | Held as a separate strategic option / potential SPV.
Operating cost - mining power (R'm) | 326.2224 | 6973.0038 | 7319.6151 | 6184.633 | 6184.633 | 5708.892 | 5708.892 | 5708.892 | 5708.892 | 5708.892 | Terminal value undiscounted (R'm) | 149082.0544 | See Layer5_Option tab; toggle Scenario_Control!B54 to evaluate.
Operating cost - AI/DC host power (R'm) | 0 | 637.4214 | 1545.264 | 2266.3872 | 3296.5632 | 3227.8848 | 3227.8848 | 3227.8848 | 3227.8848 | 3227.8848 | Cumulative capex excl. owned inference (R'm) | 85910
Operating cost - own inference power (R'm) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Cumulative capex incl. owned inference (R'm) | 85910
Operating cost - platform overhead (R'm) | 100 | 105 | 110.25 | 115.7625 | 121.5506 | 127.6282 | 134.0096 | 140.71 | 147.7455 | 155.1328 | 2035 EBITDA (R'm) | 18635.2568
Operating cost - mining opex (R'm) | 16 | 513 | 718 | 728 | 728 | 672 | 672 | 672 | 672 | 672 | 2035 Revenue (R'm) | 29033.6664
Operating cost - AI/DC hosting opex (R'm) | 0 | 91.125 | 270 | 445.5 | 648 | 634.5 | 634.5 | 634.5 | 634.5 | 634.5 | Cumulative equity required (R'm) | 29723.5
Operating cost - own inference non-power opex (R'm) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total opex excl. owned inference (R'm) | 442.2224 | 8319.5502 | 9963.1291 | 9740.2827 | 10978.7468 | 10370.905 | 10377.2864 | 10383.9868 | 10391.0223 | 10398.4096
Total opex incl. owned inference (R'm) | 442.2224 | 8319.5502 | 9963.1291 | 9740.2827 | 10978.7468 | 10370.905 | 10377.2864 | 10383.9868 | 10391.0223 | 10398.4096
EBITDA excl. owned inference (R'm) | 321.0008 | 19559.4542 | 18129.7345 | 21393.6794 | 25079.5723 | 24821.3604 | 16661.2796 | 17315.0384 | 17973.0061 | 18635.2568
EBITDA incl. owned inference (R'm) | 321.0008 | 19559.4542 | 18129.7345 | 21393.6794 | 25079.5723 | 24821.3604 | 16661.2796 | 17315.0384 | 17973.0061 | 18635.2568
Gross capex excl. owned inference (R'm) | 1140 | 35710 | 21250 | 10900 | 8400 | 700 | 0 | 0 | 0 | 0
Gross capex incl. owned inference (R'm) | 1140 | 35710 | 21250 | 10900 | 8400 | 700 | 0 | 0 | 0 | 0
BitMach-funded capex incl. contingency (R'm) | 1140 | 34630 | 19130 | 8820 | 6000 | 700 | 0 | 0 | 0 | 0
Partner/vendor-funded capex (R'm) | 114 | 4651 | 4245 | 3170 | 3240 | 70 | 0 | 0 | 0 | 0
Debt draw (R'm) | 564.3 | 17082.45 | 9352.75 | 4251.5 | 2838 | 346.5 | 0 | 0 | 0 | 0
Equity draw (R'm) | 473.1 | 14441.65 | 8076.75 | 3795.5 | 2646 | 290.5 | 0 | 0 | 0 | 0
Opening debt (R'm) | 0 | 564.3 | 17566.1357 | 24409.4378 | 25173.8752 | 24415.6073 | 21274.1634 | 18234.9972 | 15629.9976 | 13397.1408
Cash interest (R'm) | 36.6795 | 1183.7182 | 2891.5264 | 3449.5744 | 3457.0738 | 3196.5515 | 2765.6412 | 2370.5496 | 2031.8997 | 1741.6283
Principal repayment (R'm) | 0 | 80.6143 | 2509.448 | 3487.0625 | 3596.2679 | 3487.9439 | 3039.1662 | 2604.9996 | 2232.8568 | 1913.8773
Closing debt (R'm) | 564.3 | 17566.1357 | 24409.4378 | 25173.8752 | 24415.6073 | 21274.1634 | 18234.9972 | 15629.9976 | 13397.1408 | 11483.2636
Tax (27% of EBITDA; no capital allowances - conservative) (R'm) | 86.6702 | 5281.0526 | 4895.0283 | 5776.2934 | 6771.4845 | 6701.7673 | 4498.5455 | 4675.0604 | 4852.7117 | 5031.5193
Unlevered FCF excl. owned inference (R'm) | -905.6694 | -21431.5984 | -8015.2938 | 4717.3859 | 9908.0878 | 17419.5931 | 12162.7341 | 12639.9781 | 13120.2945 | 13603.7375
Unlevered FCF incl. owned inference (R'm) | -905.6694 | -21431.5984 | -8015.2938 | 4717.3859 | 9908.0878 | 17419.5931 | 12162.7341 | 12639.9781 | 13120.2945 | 13603.7375
Levered FCF to equity (R'm) | -378.0489 | -4533.4809 | -1943.5182 | 4112.249 | 8092.7461 | 11081.5978 | 6357.9267 | 7664.4288 | 8855.538 | 9948.2319
Terminal value (R'm) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 149082.0544
Levered FCF discounted (R'm) | -328.7382 | -3427.9629 | -1277.8947 | 2351.1917 | 4023.5251 | 4790.8805 | 2390.1801 | 2505.5154 | 2517.2966 | 2459.0508
Cumulative equity required (R'm) | 473.1 | 14914.75 | 22991.5 | 26787 | 29433 | 29723.5 | 29723.5 | 29723.5 | 29723.5 | 29723.5
Debt / EBITDA | 1.7579 | 0.89809 | 1.3464 | 1.1767 | 0.97353 | 0.85709 | 1.0945 | 0.90268 | 0.7454 | 0.61621
Core FCF incl terminal (R'm) | -905.6694 | -21431.5984 | -8015.2938 | 4717.3859 | 9908.0878 | 17419.5931 | 12162.7341 | 12639.9781 | 13120.2945 | 162685.7919
Full FCF incl terminal (R'm) | -905.6694 | -21431.5984 | -8015.2938 | 4717.3859 | 9908.0878 | 17419.5931 | 12162.7341 | 12639.9781 | 13120.2945 | 162685.7919
Gross MoIC (unlevered FCF incl. TV / gross capex) (x) | 2.3548

## Milestone_Gates
Milestone Gates - Capital Unlock Path for Full Platform Acceleration
Gate | Target timing | Capacity unlocked | Capital unlock | Operational proof | Commercial requirement | Revenue impact | Model trigger | Status | Investor decision
Gate 1 | Q1-26 | 20 MW | R0.6bn | Phase 1 funded and energised | 10MW Grootvlei + 10MW AMSA online | BTC anchor revenue begins | Phase 1 close MW > 0 | Near-term | Initial equity / seed infrastructure tranche
Gate 2 | Q2-26 | 160 MW | R3.2bn | DR capabilities proven to Eskom / NTCSA | Interruptible load telemetry + response compliance | DR standby and DDMP-style revenue enabled | DR proof flag = TRUE | Milestone | Release scale capital to Grootvlei / AMSA
Gate 3 | Q3-Q4 26 | 550 MW | R8.8bn | Tariff path to <= R0.80/kWh demonstrated | AMSA VB + Grootvlei scale agreements | Mining margin improves materially | Tariff case = DR proof | Milestone | Fund full AMSA VB + Grootvlei Phase 1 scale
Gate 4 | Q1-Q2 27 | 1,200 MW | R14.0bn | First AI/DC customer live | Eskom / site approvals for essential load behind BitMach | AI/DC power resale + hosting begins | AI/DC contracted MW >= 5 | Milestone | Fund Newcastle/Saldanha/Komati ramp
Gate 5 | Q3-Q4 27 | 2,000 MW | R20.0bn | Net tariff <= R0.50/kWh path achieved | Grid-stabilisation value recognised in tariff / commercial framework | Cost base structurally de-risks | Optimised tariff flag = TRUE | Milestone | Release >1GW expansion capital
Gate 6 | 2028 | 2,200 MW | R20.0bn | AI/DC client base >= 100 MW | Contracted essential-load customers with credit-worthy counterparties | AI/DC becomes core revenue line | AI host MW >= 100 | Milestone | Fund AI/DC hosting infrastructure and partner pods
Gate 7 | 2028-29 | 2,300 MW | R18.0bn | Own inference >= 5 MW stable | GPU/vendor financing or partner-funded hardware model validated | Layer 5 revenue begins | Own inference MW >= 5 | Optional | SEPARATE from infra case - evaluate later; if pursued, fund via dedicated SPV / OpCo (venture / vendor finance).
Gate 8 | 2029+ | 2,400 MW+ | R40.0bn+ | Own inference >= 250 MW path | Customer demand, utilisation and financing evidence | High-risk/high-reward Layer 5 scales | Own inference MW >= 250 | Optional / staged | SEPARATE from infra case - evaluate later; if pursued, fund via dedicated SPV / OpCo (venture / vendor finance).

## Sensitivities
SENSITIVITIES - CORE PLATFORM (LAYERS 1-4)
Layer 5 (owned inference) is excluded. All figures below are for the Core Platform only.
A. NPV SENSITIVITY TO DISCOUNT RATE (live - recomputes from core FCF incl. terminal)
Discount rate | Core NPV (R'm)
12% | 61565.1659
15% | 45538.6301 | <- base case (15%)
18% | 33401.5737
20% | 26965.8549
25% | 15101.353
B. KEY-DRIVER DOWNSIDE SCENARIOS (indicative - model re-run at stated inputs; not linked to base cells)
Scenario | Key input change(s) | Core NPV (R'm) | Core IRR
Base case | As modelled | 45539 | 38.5%
BTC bear | Network hash +25%/yr & BTC price +5%/yr (vs +12% / +12%) | 9030 | 20.3%
No Eskom DR / tariff deal | Interruptible mining tariff stuck at R0.80/kWh | 25697 | 29.3%
AI/DC resale under-prices | AI/DC resale at R1.50/kWh (vs R2.50) | 26336 | 29.9%
Rand strengthens (FX risk) | Rand strengthens to R15.00/USD (vs R17.00) - lowers ZAR value of USD-priced BTC revenue | 37414 | 33.6%
Combined downside | Hash +22%, BTC +6%, tariff R0.80, resale R1.80, DR standby halved | -25179 | n/a (neg.)
Note: Section B figures are produced by re-running the full model at the stated inputs (not live links). The 80% tariff-relief haircut requested by lenders is reflected in the "No Eskom DR / tariff deal" case. A fully live driver-sensitivity engine can be wired on request.
C. NPV SENSITIVITY TO TERMINAL EBITDA MULTIPLE (live - the dominant value driver)
Exit multiple (x) | Core NPV (R'm) | Terminal as % of NPV
5 | 31719.5787 | 72.61%
6 | 36325.9292 | 76.08%
7 | 40932.2797 | 78.78%
8 | 45538.6301 | 80.92% | <- base case (8x)
9 | 50144.9806 | 82.67%
10 | 54751.3311 | 84.13%
D. VALUATION COMPOSITION (how much of NPV is the exit assumption)
PV of explicit FCF 2026-2035 (excl. terminal) (R'm) | 8687.8263
PV of terminal value (8x 2035 EBITDA) (R'm) | 36850.8038
Total Core NPV (R'm) | 45538.6301
Terminal value as % of NPV | 80.92%
Note: ~4/5 of NPV sits in the terminal multiple - the single biggest valuation sensitivity. Hold this multiple defensible.

## Layer5_Option
LAYER 5 - OWNED INFERENCE (GPUs): STRATEGIC OPTION
Not part of the Core investment case. This tab documents the option and holds INDICATIVE-ONLY parameters for a future evaluation.
Position
Owned inference (operating our own GPU / accelerator fleet to sell tokens / inference) is treated as a separate long-term venture, not as part of the infrastructure investment case.
Why separate
GPU fleets depreciate over ~24-36 months and carry technology-obsolescence and merchant-compute price risk - a venture / growth profile, not an infrastructure one. Bundling it depresses the platform IRR and exposes infrastructure capital to chip risk.
What the base case funds
Layers 1-4 only: power access, electrical/site, cooling and (non-GPU) AI/DC hosting shells - i.e. the PropCo. The GPUs themselves are explicitly NOT funded here.
Evaluation trigger
The Layer 5 business case will be assessed later in the cycle, once (a) AI/DC hosting demand and creditworthy offtake are proven, (b) GPU / vendor or equipment financing is available, and (c) utilisation / pricing evidence supports the returns.
Likely structure if pursued
A dedicated SPV / OpCo, ring-fenced from the infrastructure vehicle, funded with venture and/or vendor/equipment finance. The infrastructure platform would host it as a customer (incremental hosting revenue to Layers 1-4).
How to evaluate in this model
Set Scenario_Control!B54 = 1 to switch the indicative Layer 5 capex & revenue back on. The reserved ~250MW of grid headroom (held in Load_Tariff) is the physical capacity earmarked for this option.
INDICATIVE-ONLY PARAMETERS (NOT IN THE INVESTMENT CASE)
Parameter | Indicative value | Unit | Note
GPU / owned-inference capex | 550 | R'm / MW | Order-of-magnitude only; vendor-dependent.
Owned inference revenue | 180 | R'm / MW / yr | Highly sensitive to utilisation & token pricing.
Inference price decline | 0.1 | %/yr | Compute pricing deflation.
Reserved capacity (headroom) | 250 | MW | Earmarked grid headroom for the option.
Indicative GPU capex if fully built | 137500 | R'm | Memo: scale of the separate SPV raise - NOT in this case.
These figures are illustrative placeholders for scoping only. No Layer 5 capex, revenue, EBITDA or valuation flows into the Dashboard, Revenue_Bridge or Financing_DCF while Scenario_Control!B54 = 0.